## Slide 1: Facades and Parking Garage Maintenance

## Slide 2
PRESENTATION OVERVIEW
Western Overview
Facades Concrete
Budgeting Tips

## Slide 3: ABOUT WESTERN
Founded in 1915
30 Branches Nationwide
Family Owned and Operated Invested in Client Satisfaction Clients Are Our Partners
Industry Leader in Safety
Experience Modification Factor = 0.81
Industry Average = 1.0
OSHA Recordable = 1.64
Indusrry Average = 3.0

## Slide 4
OUR SERVICES
Concrete, Facade and Masonry
Restoration
Roofing Repairs and Restoration Expansion Joint Systems
Exterior Wall Coatings
Parking Deck Restoration
Plaza Deck Restoration
Waterproofing
Historic Restoration
1915
2020

## Slide 5
NOTABLE
PROJECTS
The Arch Grounds—Saint Louis, MO
Eads Bridge—Saint Louis, MO
Salvation Army Building—Saint Louis, MO
Alcatraz—San Francisco, CA
Lincoln Memorial Reflecting Pool—Washington, D.C.
Maggie Daley Park—Chicago, IL
ODOT Stone Arch Bridges—Cleveland, OH
Moolah Temple—Saint Louis, MO
Corbin Building—New York, NY

## Slide 6: Types of Commercial Building Construction

## Slide 7: Solid Masonry

## Slide 8
Veneer Wall System

## Slide 9: Curtain Wall

## Slide 10
Precast Concrete

## Slide 11: Terra Cotta

## Slide 12: Facade Repair Timeline
3-5 Years
Building cleaning and sealing
Urethane sealant replacement
15-20 Years
Silicone sealant replacement
20-25 Years
Tuckpointing
Masonry restoration
Structural – steel and pinning
Replicas – FRP & GFRC
5-10 Years
Flashing
Wet Seal / Wet Glaze
Support steel replacement
Lintels and shelf angles

## Slide 13: Stucco

## Slide 14: EIFS

## Slide 15: Stucco & EIFS Repair Timeline
3-5 Years
Urethane Sealant Replacement
5-10 Years
Wall coatings
10-15 Years
Failed corner bead
Crack/spall repair
Lathe replacement/patching
Vapor barrier
Flashings
Repair of insulating material and mesh
Finish Coat Replacement and Patching
Punctured and damaged EIFS

## Slide 16: In-House Inspections
Efflorescence
Window Leaks
Sealant Failures
Window Lintels, Sills, & Mullions
Cracking / Rust / Delamination
Delaminated Coating

## Slide 17: In-House Inspections
Parapet Wall & Caps
Window Gaskets / Sealant
Roof Flashing
Cracking
EIFS / Stucco Delamination

## Slide 18: In-House Inspections
Deteriorated Mortar Joints
Environmental Containments / Build-Up

## Slide 19
Dissection of a Proposal
The same scope of work
Same type of material
Warranty (contractor standing behind their work)
Quantity of repair (quantified as linear feet, cubic feet, or square feet)
Verbiage on material utilization
Do the competitive bids show…

## Slide 20
Good

## Slide 21
Not-So-Good

## Slide 22: Common Types of Parking Structures

## Slide 23
Post Tension

## Slide 24
Post Tension

## Slide 25: Precast

## Slide 26: Precast

## Slide 27: Cast-in-Place Concrete

## Slide 28: Parking Garage Repair Timeline
Annually
Maintenance Items:
5-10 Years
Deck Coatings
15-20 Years
Continued concrete maintenance
Delaminated, cracking, and/or falling concrete
Immediate Safety Concerns
Stall striping visibility
Sealants
Concrete cracking maintenance
Maintaining striping/signage is withing ADA compliance
Preventative maintenance: add sealers or protective coatings
Exposed structural steel components

## Slide 29: Parking Garage Inspections: Where to Look
Drains
Walls
Support Columns
Concrete Slabs
Concrete Beams

## Slide 30: What to Look For
Corrosion
Cracking
Delamination/rust

## Slide 31
Scaling
Leaching
Peeling deck coating
What to Look For

## Slide 32
Deteriorated Sealant
Expansion Joint
Exposed Structural Steel
What to Look For

## Slide 33: What is Happening Under the Surface
Cracks allow for water to penetrate to the structural steel
Structural steel begins to corrode
Corrosion causes steel to expand
Concrete begins to delaminate and spall
Steel will continue to corrode causing loss of strength in structural steel

## Slide 34: Additional Cost Considerations
Typical Expansion Joint approx. $6,000 to replace
Typical Sealant Joint approx. $6/LF to replace
Deferred maintenance often leads to additional costly repairs

## Slide 35: Deferred Maintenance Escalation
Approximately 20% growth of repair area/year
Approximately 3-5% cost increase/year

## Slide 36
DECK
COATING
Why
To Protect Concrete, Particularly After Repairs
Application
New Concrete Areas
Repair and Maintenance of Existing Coatings

## Slide 37
BEFORE
AFTER

## Slide 38
Proactive vs Reactive
$$$$ savings
Strategic approach
More time planning = less time dealing with emergencies
Asset life extended
Downtime / inconvenience to tenants are reduced
Budgeting control

## Slide 39
Budgeting
Components
Get to know the components that make up the exterior of portfolio
Understand
Understand age and remaining useful life of components
Work
Work with contractors / consultant / engineer to identify issues early
Inquire
Inquire about phasing options to minimize financial impact
Advantage
Advantage in allowing contractors adequate time to prepare scopes and pricing

## Slide 40
PARTNER WITH WESTERN
SPECIALTY
CONTRACTORS TODAY!
Building Assessments Immediate Repairs
Short- and Long-Term Repair Plans Leak Investigation
Budget Preparation
Training and Education