## Slide 1
Architectural Sheet Metal

## Slide 2
Wall Panels
Gutters/Scuppers/
Downspouts
Standing
Seam Roofs
Coping
Metal
Signage
Electrical
Flashings
Canopy
Structural
Acoustical
Metal Deck

## Slide 3: Metal Components Gutters | Downspouts | Scuppers | Coping | Roof flashings

## Slide 4
ARCHITECTURAL
SYSTEMS

## Slide 5: Composite Wall Panels (ACM/MCM)
Typically used as cladding to external walls
Notes: Lightweight and rigid material, consisting of two aluminum
cover sheets bonded to an extruded fire rated core
Simple, versatile, weather resistant,
unbreakable, and shock resistant
Available in a wide range of finishes and colors
Types:
Wet Seal System
Dry Seal System
Rainscreen System

## Slide 7: Single Skin Panels
Notes: Roll formed to specific shape or profile
Preformed; Single-skin is the most varied, cost-effective and readily available panel on the market
Metal wall panels can often be installed faster than other wall materials, resulting in savings in construction costs.

## Slide 8: Plate Wall
Wall system that uses aluminum plates
Notes: Custom cut and painted to create a design typically speced

## Slide 9: Insulated Metal Panels (IMP)
Notes: IMPs are an all-in-one building enclosure solution and increases the speed of build and minimizes delays
Sustainable
A single component system
Superior insulating R-values
Variety of design options
Low maintenance
Unique
.

## Slide 10: Metal Roofing
Notes: Custom Fabricated
New Construction & Retrofit Projects
Range of Material & Color Options
22-24 Gauge
STEEP SLOPE IS IMPORTANT
- Proper installation of a metal roof curb/exhaust fan on standing seam roof. - 99% of leaks on a metal roof are found at penetrations.
Durability: If installed correctly, metal roofs can withstand wind gusts of 140 mph, will not corrode or crack, and may not need as much maintenance as other roofing types.
Energy Efficient: Metal roofs reflect the suns UV and infrared rays; this can result in a 10-25% reduction in cooling costs.
Environmentally friendly: Metal roofs have 25-95% recycled material, depending on the product, and are also 100% recyclable at the end of their life.
Longevity: Metal roofs can last 40 -70 years, depending on the product.
Safety: Can sustain lighting strikes; will not spark or ignite.

## Slide 11: Soffits
Notes: Underside of a structure
Can be vented or non-vented
Exterior or interior
Aesthetic and functional
Helps keep moisture, insects & birds away

## Slide 12: SPECIALTY METAL WORK